injury prevention

Quick Review of Safety

Fire Extinguisher Use

ASSESS THE RISK

- Is the fire small enough for the extinguisher to put it out?

- Is there a clear escape path behind you that is free of smoke, heat and fire?

- Is the visibility OK, and is it easy to breathe?

If no or if there is any doubt about your safety, evacuate immediately.

PASS TECHNIQUE

- P: Pull the pin; this breaks the tamper seal and allows you to activate the extinguisher.

- A: Aim the nozzle at the base of the fire.

- S: Squeeze the trigger while keeping the nozzle aimed at the base of the fire.

- S: Sweep the nozzle side to side at the base of the fire until extinguished.

- Watch fire. If it reignites, repeat steps 2-4.

- If the extinguisher empties and the fire is still active, evacuate immediately.

See other side for a chart of the fire extinguisher classes and types of fires.

injury prevention

Quick Review of Safety

Fire Extinguisher Use

ASSESS THE RISK

- Is the fire small enough for the extinguisher to put it out?

- Is there a clear escape path behind you that is free of smoke, heat and fire?

- Is the visibility OK, and is it easy to breathe?

If no or if there is any doubt about your safety, evacuate immediately.

PASS TECHNIQUE

- P: Pull the pin; this breaks the tamper seal and allows you to activate the extinguisher.

- A: Aim the nozzle at the base of the fire.

- S: Squeeze the trigger while keeping the nozzle aimed at the base of the fire.

- S: Sweep the nozzle side to side at the base of the fire until extinguished.

- Watch fire. If it reignites, repeat steps 2-4.

- If the extinguisher empties and the fire is still active, evacuate immediately.

See other side for a chart of the fire extinguisher classes and types of fires.

This document is intended for general purposes only and should not be construed as legal or coverage advice on any specific matter. Developed and provided by Minnesota Counties Intergovernmental Trust.

This document is intended for general purposes only and should not be construed as legal or coverage advice on any specific matter. Developed and provided by Minnesota Counties Intergovernmental Trust.

TYPES OF FIRE EXTINGUISHERS

| Class | Type of Fire | Extinguisher Identification | Symbol |
| --- | --- | --- | --- |
| A | Ordinary combustibles: - Paper - Wood - Plastics |  |  |
| B | Flammable liquids - Gasoline - Paint - Tar |  |  |
| C | Electrical fires - Live electrical equipment |  |  |
| D | Combustible metals - Magnesium - Sodium - Potassium |  |  |
| K | Oils and fats - Vegetable, animal oils or fats - Cooking |  |  |

- ABC is a common combination extinguisher.

- Do not use the wrong extinguisher for the fire type.

TYPES OF FIRE EXTINGUISHERS

| Class | Type of Fire | Extinguisher Identification | Symbol |
| --- | --- | --- | --- |
| A | Ordinary combustibles: - Paper - Wood - Plastics |  |  |
| B | Flammable liquids - Gasoline - Paint - Tar |  |  |
| C | Electrical fires - Live electrical equipment |  |  |
| D | Combustible metals - Magnesium - Sodium - Potassium |  |  |
| K | Oils and fats - Vegetable, animal oils or fats - Cooking |  |  |

- ABC is a common combination extinguisher.

- Do not use the wrong extinguisher for the fire type.